*U.S. Consumer Product Safety Commission – Recall*

**Recall Date:**  June 17, 2020

**Recall Number:** 20-140

**Edwards Recalls Mechanical Heat Detectors Due to Failure to Alert to Fire**

**Recall Summary**

**Name of Product:** Edwards Mechanical Heat Detectors

**Hazard:** The recalled heat detectors can fail to activate in reaction to rising temperatures, posing a risk of failure to alert consumers to a fire.

**Remedy:**  Replace

Consumers who use the product in life-safety applications permitted by code (for example, in elevator shafts, or in lieu of smoke detectors, manual pull stations, or sprinklers in particular settings), or in residential attics or residential garages, should immediately contact a fire or security alarm professional for free replacement and installation of the heat detector.

**Consumer Contact:**

Edwards Fire Safety at 800-505-5088 from 9 a.m. to 5 p.m. ET Monday to Friday, or online at

[https://edwardsfiresafety.com](https://edwardsfiresafety.com/) and click on “Mechanical Heat Detector Information” for more

information, or at [https://edwardsheatdetector.rsvpcomm.com.](https://edwardsheatdetector.rsvpcomm.com/)

**Recall Details**

**Units:** About 85,000

**Description:**

This recall involves mechanical heat detectors used indoors to detect elevated temperatures as

part of professionally installed fire detection systems for residential homes and businesses. In

residential settings, this product is installed in kitchens, attics and garages for property protection. The recalled heat detectors do not detect smoke or make an audible sound, but rather act as sensors that trigger fire alarms or security panels when elevated heat is detected. The heat detectors can be mounted to walls or ceilings and are labeled with “135F” and “NOT A LIFE SAFETY DEVICE.” The recalled units are the following:

|  |  |  |
| --- | --- | --- |
| Model # | Description | Seller |
| 281B-PL | Heat Detector, 135F, Rateof Rise and FixedTemperature | Edwards |
| 283B-PL | Heat Detector, 135F, FixedTemperature | Edwards |
| 104-13 | Heat Detector, 135F, Rate of Rise and Fixedtemperature | Interlogix |
| 104-15 | Heat Detector, 135F, FixedTemperature | Interlogix |
| 1EYC2 | Heat Detector, 135F, Rateof Rise and FixedTemperature | Edwards, GraingerP/N |
| 1EYC4 | Heat Detector, 135F, FixedTemperature | Edwards, GraingerP/N |
| 281B-20pkg-OEM-UTCO1 | Heat Detector, 135F, Rateof Rise and FixedTemperature | Honeywell Security |
| 281B-20pkg-OEM-UTC20 | Heat Detector, 135F, Rateof Rise and FixedTemperature | Interlogix |
| 281B-OEM-UTC01 | Heat Detector, 135F, Rateof Rise and FixedTemperature | Honeywell Security |
| 283B-20pkg-OEM- UTC01 | Heat Detector, 135F, FixedTemperature | Honeywell Security |
| 73340U | Heat Detector, 135F, FixedTemperature and Rate ofRise | Mirtone |
| 73342U | Heat Detector, 135F, FixedTemperature | Mirtone |
| AI281B | Heat Detector, 135F, FixedTemperature and Rate ofRise | Edwards |
| AI283B | Heat Detector, 135F, FixedTemperature | Edwards |
| 281A | Heat Detector, 135F, FixedTemperature and Rate ofRise | Edwards |

**Incidents/Injuries:**  None reported

**Sold At:** Edwards’ distributors, electrical wholesalers, contractors, and fire safety professionals nationwide from January 1979 through May 2018 for between $6 to $7 per unit.

**Importer:**  Edwards Fire Safety, of Bradenton, Florida

**Manufactured in:**  China

**Photos**

**Recalled Edwards 280 Series Mechanical Heat Detector**

**Footer**

**About the U.S. CPSC**

The U.S. Consumer Product Safety Commission (CPSC) is charged with protecting the public

from unreasonable risks of injury or death associated with the use of thousands of types of consumer products. Deaths, injuries, and property damage from consumer product incidents cost the nation more than $1 trillion annually. CPSC’s work to ensure the safety of consumer

products has contributed to a decline in the rate of deaths and injuries associated with consumer

products over the past 40 years.

Federal law bars any person from selling products subject to a publicly announced voluntary recall by a manufacturer or a mandatory recall ordered by the Commission.

**For lifesaving information:**

- Visit CPSC.gov.

- Sign up to receive our [e-mail](http://www.cpsc.gov/en/Newsroom/Subscribe/) alerts.

- Follow us on [Facebook](https://www.facebook.com/USCPSC/), Instagram [@USCPSC](https://www.instagram.com/uscpsc/) and Twitter [@USCPSC.](https://twitter.com/USCPSC)

- Report a dangerous product or a product-related injury on [www.SaferProducts.gov](http://www.saferproducts.gov/).

- Call CPSC’s Hotline at 800-638-2772 (TTY 301-595-7054).

- Contact a [media specialist.](https://www.cpsc.gov/About-CPSC/Contact-Information/Media-Contact/)